## Impedance Stats
Segment Number | 1
Start Event
Start Time | 0
End Event
End Time | 60
Segment Duration | 60
Manual Override | Off
Threshold (volts) | N/A
Heart Rate | 63.2159
LVET | 264
SV | 162.9239
CO | 10.2994
Z0 | 4.9659
PEP | 102
dZ/dt Max | 0.43161
# of R's Found | 63
Mean IBI | 949.129
MAP | -1
TPR | -1
First ECG R Time | 0.832
Last ECG R Time | 59.678
First R to Last R Duration | 58.846
Q Location | 168
R Location | 200
S Location | 226
B Location | 270
Z Location | 306
X Location | 534
Q Amplitude | -3.5236e-05
R Amplitude | 0.0022768
S Amplitude | -0.0003251
B Amplitude | 0.27034
Z Amplitude | 0.43161
X Amplitude | -0.17136
X Point Source | Identified

## IBI
1
832
800
766
806
1036
952
924
886
878
942
1002
984
920
854
886
888
924
862
878
826
940
1092
1088
1016
978
966
918
882
952
922
990
1014
970
1080
1058
1014
1060
1046
918
938
898
928
972
982
1034
1060
1012
1006
1032
1016
1018
930
938
966
1010
974
870
918
900
844
868
910
904
322

## Editing Stats
Segment Number | 1
ECG : Seconds Removed | 0
ECG : Percentage Removed | 0
ECG : Seconds Estimated | 0
ECG : Percentage Estimated | 0
Zo : Seconds Removed | 0
Zo : Percentage Removed | 0
Zo : Seconds Estimated | 0
Zo : Percentage Estimated | 0
dZ/dt : Seconds Removed | 0
dZ/dt : Percentage Removed | 0
dZ/dt : Seconds Estimated | 0
dZ/dt : Percentage Estimated | 0
Total Peaks | 63
Normal Peaks | 63
Normal Peaks (%) | 100
Estimated Peaks | 0
Estimated Peaks (%) | 0
Artifact Peaks | 0
Artifact Peaks (%) | 0

## Settings
Version | 3.2.4
Date | 6/12/2019
Time | 3:19 PM
File Name | C:\Users\emorgan\Documents\MindWare\IMP Examples\ECG IMP EDA ACC Demo.mwi
Mode | Time
Start Time | 0
End Time | 436.671
Segment Time | 60
Show Events | No
Edit File Used? | No
Edit File Name
Sampling Frequency | 1000
BioLab Filter | Off
IBI Min/Max Check | On
MAD MED Check | On
Maximum Heart Rate (BPM) | 200
Minimum Heart Rate (BPM) | 40
50/60 hz Notch Filter | On_60
Baseline/Muscle Noise Filter | On
Ignore Estimated Beats | No
Zo Cal Factor | N/A
dZ/dt Cal Factor | N/A
Rho(Blood Resistivity) | 135
Electrode Type | Spot
Electrode Distance Back | N/A
Electrode Distance Front | 25
Override File | Yes
Q Point Method | Minimum Value K-R Interval
R Minus Constant | N/A
K Constant | 35
LVET Windowing | Framingham
RR-Constant | N/A
LVETmin | 300
LVETmax | 600
B Point Method | Max Slope Change
Block Size | 2
dZ/dt Peak Minus Constant | N/A
Percent dZ/dt | N/A
C | N/A
dZ/dt Source | Measured
Detrend Mode | Off
SV Calculation Method | Bernstein-Lemmens
Optimized | N/A
Weight | 143
Height | N/A
Ideal Body Weight | N/A
Ensemble Start-R Time (ms) | 200
Ensemble Length (ms) | 650
Calculate TPR | No
MAP File Name
ECG Inverted | No
dZ/dt Inverted | No