## BPV Stats
Version | 3.1.4
Date | 2019-09-19
Time | 13:36
File Name | C:\Users\gepelman\Desktop\Baseline_0_0.mw
Event File Name | N/A
Analysis Mode | Time
Event Filter | N/A
Event Identifier | N/A
Start Time | 0
Segment Time | 60
End Time | 302
Event Mode | N/A
Pre-Event Time | N/A
Post-Event Time | N/A
Event to Use | N/A
All Instances | N/A
1st Event | N/A
2nd Event | N/A
# of Events | N/A
Event/Time Event to Use | N/A
1st Event | N/A
Segment Time | N/A
Edit File Used? | No
Edit File Name | N/A
Sampling Frequency | 1000
Volts Full Scale | 10
A/D Resolution | 16
BioLab Filter | On
IBI Min/Max Check | On
MAD MED Check | On
Maximum Heart Rate (BPM) | 200
Minimum Heart Rate (BPM) | 40
Scaling Method | Slope Intercept
mmHg/volt | 126
Offset (mmHg/volt) | 0
Volts Max | N/A
Volts Min | N/A
mmHg Max | N/A
mmHg Min | N/A
Calculation Method | Interval
Interval Period | 10
Auto Cal Remove | No
Point to Use | Systolic
Resp Signal | Zo
Windowing Function | Hamming
VLF Frequency Band | 0.0030, 0.0400
LF Frequency Band | 0.0400, 0.1200
HF/RSA Frequency Band | 0.1200, 0.4000
Change in BP (mmHg) | 1
Change in HR (ms) | 5
Min Sequence Length | 3
BP Inverted | No
Segment Number | 1 | 2 | 3 | 4 | 5 | 6
Start Event
Start Event Name
Start Time | 0 | 60 | 120 | 180 | 240 | 300
End Event
End Event Name
End Time | 60 | 120 | 180 | 240 | 300 | 302
Mean Systolic Amp | 105.6377 | 108.5418 | 110.0213 | 109.7972 | 108.6601 | NaN
Mean Diastolic Amp | 71.2597 | 73.4199 | 74.7352 | 74.5298 | 73.7169 | NaN
Mean MAP | 82.6526 | 85.0904 | 86.5248 | 86.288 | 85.3745 | NaN
Mean IBI | 769.8547 | 805.629 | 770.3317 | 770.5633 | 763.9673 | NaN
# Peaks Found | 81 | 76 | 79 | 79 | 80 | 0
# Troughs Found | 80 | 75 | 78 | 78 | 79 | 0
Resp Rate | 14.7359 | 13.9757 | 14.9071 | 15.5029 | 15.1294 | 5.76
Resp Pk Freq | 0.2456 | 0.23293 | 0.24845 | 0.25838 | 0.25216 | 0.096
Resp Amplitude | 0.000825 | 0.00152 | 0.00229 | 0.00479 | 0.002304 | 1e-06
Resp Power | 0.002538 | 0.003673 | 0.005068 | 0.007367 | 0.004631 | 1e-06
Heart Rate | 80.4808 | 74.8092 | 78.2958 | 78.0841 | 78.5894 | 81.3008
RSA | 7.423 | 6.7821 | 8.5605 | 9.3939 | 8.1646 | NaN
# BRS Series | 4 | 4 | 1 | 1 | 4 | 0
Avg BRS | 14.7968 | 16.4734 | 18.61 | 24.1912 | 18.6895 | 0

## IBI Series
1 | 2 | 3 | 4 | 5 | 6
597 | 322 | 613 | 401 | 448 | 697
811 | 857 | 949 | 738 | 901 | 738
798 | 835 | 910 | 789 | 829 | 565
764 | 818 | 889 | 745 | 820
709 | 741 | 883 | 729 | 776
316 | 781 | 785 | 757 | 783
452 | 740 | 32 | 750 | 716
647 | 788 | 848 | 757 | 765
52 | 778 | 823 | 766 | 731
710 | 823 | 820 | 742 | 759
711 | 805 | 800 | 744 | 740
609 | 797 | 860 | 811 | 709
697 | 767 | 829 | 817 | 704
702 | 732 | 856 | 800 | 715
658 | 740 | 845 | 791 | 680
681 | 761 | 791 | 812 | 721
724 | 768 | 776 | 808 | 673
698 | 701 | 832 | 789 | 683
717 | 717 | 839 | 847 | 714
692 | 692 | 821 | 855 | 638
587 | 710 | 856 | 867 | 731
103 | 730 | 853 | 810 | 738
660 | 768 | 906 | 762 | 800
324 | 735 | 993 | 772 | 796
360 | 734 | 870 | 753 | 816
308 | 770 | 890 | 734 | 791
345 | 729 | 861 | 728 | 806
670 | 753 | 928 | 774 | 748
619 | 709 | 947 | 678 | 93
62 | 753 | 953 | 753 | 820
629 | 736 | 900 | 669 | 777
754 | 771 | 821 | 758 | 823
809 | 646 | 842 | 707 | 745
1078 | 725 | 778 | 745 | 784
1112 | 686 | 758 | 768 | 761
989 | 803 | 717 | 820 | 790
988 | 809 | 802 | 788 | 821
1052 | 818 | 763 | 757 | 771
928 | 762 | 778 | 753 | 753
955 | 788 | 707 | 754 | 762
907 | 847 | 93 | 751 | 826
926 | 895 | 824 | 748 | 785
931 | 954 | 804 | 738 | 835
896 | 925 | 803 | 720 | 764
892 | 830 | 751 | 736 | 770
867 | 776 | 737 | 798 | 770
895 | 812 | 720 | 774 | 755
860 | 846 | 690 | 725 | 762
816 | 856 | 721 | 786 | 743
841 | 850 | 675 | 736 | 759
841 | 854 | 703 | 31 | 783
835 | 824 | 695 | 823 | 819
874 | 830 | 659 | 798 | 789
895 | 889 | 665 | 824 | 782
836 | 821 | 659 | 766 | 786
792 | 861 | 726 | 782 | 814
798 | 852 | 710 | 767 | 889
821 | 842 | 735 | 788 | 747
891 | 828 | 731 | 775 | 771
888 | 878 | 735 | 797 | 789
802 | 901 | 730 | 719 | 759
889 | 867 | 722 | 771 | 831
856 | 891 | 701 | 789 | 770
852 | 836 | 757 | 781 | 795
870 | 863 | 742 | 787 | 754
850 | 882 | 766 | 814 | 811
852 | 829 | 689 | 769 | 777
795 | 850 | 715 | 851 | 793
782 | 853 | 711 | 838 | 746
795 | 799 | 697 | 801 | 797
759 | 818 | 732 | 779 | 798
784 | 826 | 733 | 801 | 837
742 | 841 | 707 | 847 | 784
751 | 840 | 728 | 842 | 776
749 | 809 | 729 | 787 | 769
778 | 327 | 768 | 839 | 761
770 |  | 731 | 829 | 799
843 |  | 702 | 863 | 748
797 |  | 380 | 432 | 724
798 |  |  |  | 2
507

## Systolic Amplitudes
1 | 2 | 3 | 4 | 5 | 6
107.5955 | 100.0909 | 112.184 | 108.6456 | 107.5037 | 109.2332
105.4735 | 109.8104 | 111.7177 | 109.092 | 106.8331 | 112.286
100.0433 | 103.8769 | 111.095 | 105.8624 | 107.2119
94.8085 | 107.1003 | 110.8018 | 108.5341 | 104.1247
102.6908 | 98.9149 | 109.9107 | 109.8639 | 105.6454
93.7248 | 104.969 | 102.763 | 109.8873 | 105.8823
107.5023 | 110.5811 | 111.657 | 108.8056 | 107.2785
90.6495 | 105.8307 | 110.5236 | 108.146 | 107.9723
109.154 | 107.0152 | 109.7925 | 108.7151 | 107.1097
102.5301 | 104.5341 | 108.9295 | 110.4651 | 108.8729
99.7708 | 106.689 | 109.9441 | 111.7062 | 108.5074
106.3981 | 106.5 | 111.4751 | 109.5526 | 109.123
113.9678 | 107.1765 | 110.8714 | 108.6935 | 110.3433
109.9094 | 106.4658 | 110.1428 | 109.2956 | 110.1352
109.2028 | 107.9908 | 110.1568 | 110.4597 | 110.865
107.9199 | 109.108 | 112.144 | 109.6253 | 111.201
105.4673 | 109.7985 | 112.3395 | 109.5364 | 112.6172
103.5518 | 110.1313 | 110.8492 | 110.1604 | 112.332
102.7828 | 110.8605 | 111.508 | 110.9052 | 111.9765
103.4477 | 110.4851 | 108.9011 | 111.2463 | 115.0174
75.038 | 110.9372 | 112.5511 | 109.1788 | 115.5374
104.3434 | 110.6954 | 110.6712 | 108.2357 | 115.2494
105.7461 | 111.7045 | 111.2548 | 109.7214 | 113.7313
88.6112 | 110.6505 | 109.5205 | 110.463 | 112.0043
102.8011 | 111.4715 | 109.5404 | 110.8965 | 111.1683
89.7009 | 108.4265 | 109.91 | 111.123 | 112.7833
106.3382 | 109.1929 | 110.9446 | 110.5693 | 111.3072
103.6734 | 110.5403 | 111.0119 | 112.882 | 86.3672
91.333 | 111.9971 | 109.0271 | 113.2645 | 111.9719
103.6601 | 110.5948 | 109.6413 | 113.3068 | 110.8974
105.1811 | 108.626 | 109.0337 | 111.3431 | 109.843
105.0629 | 107.4417 | 109.2122 | 112.3005 | 109.7463
105.3406 | 110.6493 | 109.1716 | 111.934 | 109.6256
104.8203 | 111.8123 | 107.5988 | 113.8541 | 111.3491
103.956 | 112.2744 | 110.2554 | 112.6671 | 110.4135
104.7726 | 110.6653 | 111.6925 | 114.2098 | 109.509
106.7494 | 108.9535 | 111.7108 | 110.1838 | 108.5119
106.1295 | 106.4242 | 110.7789 | 107.596 | 106.1417
105.1975 | 108.7577 | 111.1247 | 109.3347 | 108.3546
105.5539 | 110.9527 | 90.6299 | 110.0782 | 110.0348
105.6932 | 110.2036 | 111.5485 | 106.3984 | 108.908
107.263 | 108.9831 | 110.4997 | 109.8771 | 108.2464
106.2023 | 106.4508 | 112.356 | 111.8521 | 103.9109
105.8161 | 104.7121 | 110.1547 | 115.075 | 107.3046
104.5137 | 106.9573 | 108.8096 | 113.6639 | 108.9649
106.2092 | 109.218 | 110.8157 | 111.7955 | 108.2532
105.753 | 105.3558 | 111.1138 | 110.6462 | 107.5071
106.2416 | 104.0245 | 112.0409 | 111.638 | 106.5522
105.5489 | 104.9629 | 108.6201 | 113.0673 | 108.8281
105.7551 | 106.9288 | 110.0863 | 93.264 | 109.1051
105.9665 | 105.7066 | 111.0583 | 112.3202 | 109.5369
105.8205 | 106.9835 | 110.1121 | 112.7719 | 107.5834
106.3338 | 107.3694 | 109.0979 | 110.1357 | 106.0486
103.8627 | 107.61 | 111.3634 | 108.7819 | 108.3579
103.9632 | 107.0739 | 111.9672 | 112.5877 | 108.3739
107.339 | 106.8754 | 112.3064 | 110.8168 | 108.5332
108.8835 | 106.1805 | 111.8331 | 112.0368 | 107.5557
109.6307 | 108.289 | 111.1617 | 109.8955 | 105.8203
108.3799 | 109.7812 | 110.1635 | 108.6466 | 109.6135
108.0195 | 109.802 | 109.7976 | 110.827 | 108.3624
110.6662 | 110.3409 | 108.3339 | 110.6186 | 110.0808
110.6437 | 108.9965 | 112.4058 | 111.4738 | 108.1385
110.1244 | 108.267 | 112.0332 | 110.0346 | 106.6553
110.5655 | 109.5542 | 110.603 | 108.0573 | 109.5088
110.1567 | 110.4751 | 106.6754 | 110.5089 | 109.2745
109.1267 | 110.7328 | 103.7379 | 109.4204 | 108.3544
108.9737 | 111.0223 | 110.5258 | 109.9655 | 108.1893
106.9425 | 110.3982 | 113.3494 | 105.3526 | 107.4602
110.8064 | 108.7769 | 112.1132 | 108.4961 | 109.6618
109.3253 | 110.3532 | 112.6545 | 104.8628 | 109.3083
109.0127 | 112.3802 | 110.005 | 97.0188 | 109.0484
108.1444 | 110.0476 | 107.6353 | 113.3268 | 107.1899
110.0508 | 112.8844 | 109.1567 | 102.9808 | 108.4111
108.0571 | 111.7453 | 109.2398 | 105.8078 | 109.3258
110.8306 | 113.5535 | 109.8137 | 110.7423 | 108.6367
111.6261 |  | 107.503 | 112.5133 | 108.9544
109.2655 |  | 107.6308 | 108.7164 | 107.5753
105.9049 |  | 109.0225 | 108.6575 | 104.8802
108.644 |  |  |  | 104.9355
109.0345

## Diastolic Amplitudes
1 | 2 | 3 | 4 | 5 | 6
74.6307 | 65.8862 | 72.4788 | 72.7587 | 69.1868 | 75.358
70.3105 | 70.3255 | 71.8961 | 71.2104 | 70.8057
66.2062 | 69.2492 | 71.4555 | 71.4526 | 64.6183
61.3293 | 65.0545 | 72.2928 | 72.8977 | 70.5469
77.2634 | 69.8686 | 74.8558 | 74.3974 | 72.7551
68.811 | 74.8732 | 102.4874 | 74.2655 | 74.2723
71.4968 | 77.1522 | 74.5204 | 73.8929 | 73.8268
90.3137 | 73.4716 | 73.7094 | 73.6179 | 73.1466
63.3342 | 71.504 | 73.4788 | 74.9866 | 72.9227
62.0611 | 72.7098 | 73.7227 | 76.3589 | 73.1955
70.4697 | 72.5409 | 76.2667 | 75.2318 | 72.7129
68.576 | 73.1931 | 77.2834 | 74.4002 | 73.3713
67.4296 | 72.2796 | 72.8009 | 73.4874 | 72.1188
60.3858 | 72.8507 | 76.8922 | 74.7927 | 72.5258
60.185 | 75.346 | 79.381 | 75.3577 | 73.44
58.6233 | 75.6832 | 81.0081 | 76.1711 | 75.24
57.2881 | 76.0913 | 80.2508 | 75.7718 | 75.6132
57.9121 | 76.6368 | 78.2956 | 74.623 | 76.2268
60.889 | 76.9518 | 77.7024 | 75.088 | 79.0869
62.002 | 76.774 | 78.0232 | 73.2251 | 81.2012
74.7787 | 77.4802 | 75.348 | 72.3386 | 82.3051
64.3319 | 78.9517 | 71.9132 | 72.5543 | 80.222
66.3459 | 77.7161 | 69.822 | 72.1455 | 77.5766
65.6065 | 76.0059 | 72.8839 | 74.389 | 76.4021
66.9406 | 74.5114 | 73.9833 | 74.1162 | 74.3649
68.0883 | 73.3689 | 74.1106 | 75.601 | 73.3744
68.5526 | 74.007 | 72.1797 | 76.1841 | 73.2374
71.0532 | 75.4712 | 69.9951 | 77.0264 | 86.1025
91.0458 | 75.6346 | 69.9553 | 76.5095 | 72.3672
73.8493 | 72.5341 | 71.8091 | 75.6189 | 72.5968
77.325 | 72.4292 | 73.9599 | 74.6185 | 71.8389
77.7507 | 73.5417 | 75.9755 | 75.4868 | 71.9588
69.4804 | 74.2744 | 76.7457 | 74.6124 | 74.1247
67.6833 | 76.3558 | 78.4691 | 74.1898 | 75.3724
69.3055 | 76.1125 | 78.8522 | 67.976 | 74.9541
68.2063 | 73.9741 | 79.7512 | 76.4922 | 73.8477
67.0195 | 72.8866 | 77.9562 | 76.2751 | 73.9994
67.5193 | 72.9825 | 78.257 | 72.7754 | 72.939
68.3163 | 72.997 | 74.8717 | 77.9705 | 74.4695
68.3019 | 72.942 | 90.5223 | 70.0971 | 74.496
68.3638 | 69.6998 | 74.362 | 74.7808 | 72.253
68.7226 | 66.5566 | 74.2682 | 76.8399 | 71.8995
69.4128 | 67.0716 | 70.5647 | 79.7096 | 71.1418
68.3208 | 69.5723 | 70.7913 | 80.4216 | 72.299
70.573 | 74.9311 | 69.3971 | 79.3559 | 73.7487
70.9308 | 73.5733 | 69.9067 | 78.1016 | 73.5683
72.6658 | 68.1858 | 72.1865 | 77.5416 | 73.2631
72.2656 | 69.749 | 72.1358 | 76.7964 | 73.1467
73.017 | 71.5472 | 72.5318 | 76.4794 | 74.8752
72.9737 | 71.3548 | 73.9382 | 92.9496 | 76.2052
72.495 | 71.6536 | 74.4102 | 76.7609 | 73.4772
71.0538 | 72.3015 | 73.8613 | 72.7761 | 73.169
67.9256 | 72.2592 | 75.9993 | 72.6383 | 72.1481
72.2949 | 71.8226 | 75.7732 | 72.63 | 73.2232
73.5838 | 70.7085 | 77.7759 | 73.2184 | 72.8026
77.9468 | 71.5141 | 78.8508 | 74.9745 | 71.9849
77.4996 | 73.7351 | 76.8885 | 73.0213 | 72.2775
73.9468 | 74.6502 | 76.0033 | 72.5231 | 72.7683
75.7013 | 74.2756 | 74.7577 | 72.9362 | 74.2423
77.0136 | 74.3859 | 73.4059 | 74.4901 | 76.352
76.7761 | 72.8031 | 73.9366 | 76.666 | 74.2581
76.0667 | 72.6709 | 74.8778 | 75.0722 | 74.0333
76.8641 | 73.1615 | 74.3435 | 74.1922 | 73.668
76.2466 | 74.9973 | 65.2021 | 73.6138 | 74.9667
74.838 | 75.7675 | 68.5065 | 73.6245 | 75.8901
73.7388 | 76.6654 | 71.9561 | 74.6379 | 74.2353
72.9817 | 76.1245 | 71.807 | 67.8082 | 73.6878
73.0862 | 75.0838 | 73.2697 | 82.7108 | 72.9155
74.4423 | 77.015 | 74.6142 | 79.1054 | 74.2239
74.4827 | 71.9201 | 73.1485 | 60.8321 | 73.3878
74.0953 | 77.3727 | 72.5884 | 74.9374 | 72.4342
74.3768 | 78.9608 | 72.3406 | 66.5481 | 72.3909
74.5904 | 79.1408 | 71.0286 | 70.5886 | 72.0159
77.0269 | 77.5268 | 73.5018 | 76.0845 | 72.9803
78.3706 |  | 73.2371 | 74.22 | 73.4939
75.3379 |  | 70.9486 | 72.5107 | 71.7528
74.1629 |  | 70.9562 | 71.7294 | 70.3455
73.2312 |  |  |  | 69.6547
72.8708

## MAP
1 | 2 | 3 | 4 | 5 | 6
85.619 | 77.2878 | 85.7139 | 84.721 | 81.9591 | 86.6497
82.0315 | 83.4871 | 85.17 | 83.8376 | 82.8148
77.4853 | 80.7917 | 84.6687 | 82.9225 | 78.8162
72.489 | 79.0698 | 85.1291 | 84.7765 | 81.7395
85.7392 | 79.5507 | 86.5408 | 86.2196 | 83.7185
77.1156 | 84.9052 | 102.5793 | 86.1395 | 84.809
83.4986 | 88.2952 | 86.8992 | 85.5305 | 84.9773
90.4256 | 84.258 | 85.9808 | 85.1273 | 84.7552
78.6074 | 83.3411 | 85.5834 | 86.2294 | 84.3184
75.5508 | 83.3179 | 85.4583 | 87.7276 | 85.088
80.2367 | 83.9236 | 87.4925 | 87.3899 | 84.6444
81.1834 | 84.2954 | 88.6806 | 86.1177 | 85.2886
82.9423 | 83.9119 | 85.491 | 85.2228 | 84.8603
76.8937 | 84.0557 | 87.9757 | 86.2937 | 85.0623
76.5243 | 86.2276 | 89.6396 | 87.0584 | 85.915
75.0555 | 86.8248 | 91.3867 | 87.3225 | 87.227
73.3479 | 87.327 | 90.947 | 87.0267 | 87.9478
73.1253 | 87.8016 | 89.1468 | 86.4688 | 88.2619
74.8536 | 88.2547 | 88.971 | 87.027 | 90.0501
75.8173 | 88.011 | 88.3158 | 85.8988 | 92.4733
74.8651 | 88.6325 | 87.7491 | 84.6187 | 93.3825
77.6691 | 89.5329 | 84.8325 | 84.4481 | 91.8978
79.4793 | 89.0456 | 83.633 | 84.6708 | 89.6281
73.2747 | 87.5541 | 85.0961 | 86.4137 | 88.2695
78.8941 | 86.8314 | 85.8357 | 86.3763 | 86.6327
75.2925 | 85.0547 | 86.0438 | 87.4416 | 86.5107
81.1478 | 85.7356 | 85.1013 | 87.6458 | 85.9274
81.9266 | 87.1609 | 83.6673 | 88.9782 | 86.1907
91.1415 | 87.7554 | 82.9792 | 88.7612 | 85.5687
83.7863 | 85.221 | 84.4198 | 88.1816 | 85.3637
86.6104 | 84.4948 | 85.6512 | 86.8601 | 84.507
86.8548 | 84.8417 | 87.0544 | 87.7581 | 84.5546
81.4338 | 86.3994 | 87.5543 | 87.0529 | 85.9584
80.0623 | 88.1746 | 88.179 | 87.4112 | 87.3646
80.8557 | 88.1665 | 89.32 | 82.873 | 86.7739
80.395 | 86.2045 | 90.3983 | 89.0647 | 85.7348
80.2628 | 84.9089 | 89.2077 | 87.578 | 85.5036
80.3894 | 84.1297 | 89.0977 | 84.3823 | 84.0066
80.6101 | 84.9172 | 86.956 | 88.4252 | 85.7646
80.7193 | 85.6122 | 90.5582 | 83.4241 | 86.3422
80.8069 | 83.2011 | 86.7575 | 85.32 | 84.4714
81.5694 | 80.6988 | 86.3453 | 87.8523 | 84.0152
81.676 | 80.198 | 84.4951 | 90.4238 | 82.0648
80.8192 | 81.2855 | 83.9124 | 91.9728 | 83.9676
81.8866 | 85.6065 | 82.5346 | 90.7919 | 85.4874
82.6903 | 85.4549 | 83.5431 | 89.3329 | 85.1299
83.6949 | 80.5758 | 85.1623 | 88.5765 | 84.6778
83.591 | 81.1742 | 85.4375 | 88.4102 | 84.2819
83.861 | 82.6857 | 84.5613 | 88.6754 | 86.1928
83.9008 | 83.2128 | 85.9876 | 93.0544 | 87.1719
83.6521 | 83.0046 | 86.6263 | 88.614 | 85.4971
82.6427 | 83.8621 | 85.9449 | 86.108 | 84.6405
80.7283 | 83.9626 | 87.0321 | 85.1375 | 83.4483
82.8175 | 83.7517 | 87.6366 | 84.6806 | 84.9347
83.7102 | 82.8303 | 89.173 | 86.3415 | 84.6597
87.7442 | 83.3012 | 90.0027 | 86.9219 | 84.1677
87.9609 | 84.5502 | 88.5367 | 86.0265 | 84.0369
85.8414 | 85.8631 | 87.7227 | 84.9805 | 83.7856
86.5942 | 86.1108 | 86.5596 | 84.8397 | 86.0327
87.3489 | 86.1913 | 85.5365 | 86.6024 | 87.0221
88.0728 | 85.3157 | 85.4024 | 87.9835 | 86.199
87.5924 | 84.7794 | 87.3872 | 87.206 | 85.4017
87.9509 | 84.8633 | 86.9067 | 86.1397 | 84.6637
87.6862 | 86.5162 | 80.3357 | 85.095 | 86.4807
86.6109 | 87.3367 | 81.2295 | 85.9193 | 87.0182
85.5347 | 88.0212 | 82.5501 | 86.2321 | 85.6084
84.979 | 87.7571 | 84.7133 | 81.8606 | 85.1883
84.3716 | 86.8552 | 86.6296 | 90.2581 | 84.4304
86.5637 | 87.6023 | 87.1139 | 88.9023 | 86.0365
86.0969 | 84.7311 | 86.3172 | 75.509 | 85.3613
85.7344 | 89.0418 | 85.0606 | 82.2979 | 84.6389
85.6326 | 89.323 | 84.1055 | 82.141 | 83.9906
86.4105 | 90.3887 | 83.738 | 81.386 | 84.1476
87.3703 | 88.933 | 85.4145 | 85.9923 | 85.0955
89.1906 |  | 85.4293 | 86.3941 | 85.2082
87.434 |  | 83.1334 | 85.8449 | 84.1533
85.8638 |  | 83.181 | 84.0584 | 82.7554
84.1224 |  |  |  | 81.3965
84.7952

## HR Power Band Stats
Segment Number | 1 | 2 | 3 | 4 | 5 | 6
VLF Power | 3945.0551 | 338.5196 | 695.9715 | 429.4615 | 98.2713 | NaN
VLF Peak Power Frequency | 0.020205 | 0.020081 | 0.020223 | 0.020116 | 0.020045 | -Inf
LF Power | 11494.4668 | 1175.1598 | 2828.1265 | 1426.9941 | 517.7827 | NaN
LF Peak Power Frequency | 0.04 | 0.04 | 0.04 | 0.074232 | 0.091136 | -Inf
HF/RSA Power | 1674.0352 | 881.9019 | 5221.4398 | 12014.5537 | 3514.3396 | NaN
HF/RSA Peak Power Frequency | 0.12 | 0.2054 | 0.32668 | 0.37674 | 0.25636 | -Inf
LF/HF Ratio | 6.8663 | 1.3325 | 0.54164 | 0.11877 | 0.14733 | NaN

## BP Power Band Stats
Segment Number | 1 | 2 | 3 | 4 | 5 | 6
VLF Power | 1.1925 | 2.6299 | 0.35239 | 0.93239 | 0.73234 | NaN
VLF Peak Power Frequency | 0.028253 | 0.016514 | 0.028907 | 0.015953 | 0.028641 | -0.83033
LF Power | 3.1428 | 0.35319 | 0.93536 | 2.1705 | 2.476 | NaN
LF Peak Power Frequency | 0.04 | 0.053514 | 0.091813 | 0.10477 | 0.065641 | -0.79333
HF/RSA Power | 5.8247 | 1.5865 | 5.8303 | 3.641 | 5.503 | NaN
HF/RSA Peak Power Frequency | 0.19576 | 0.17405 | 0.19772 | 0.24953 | 0.20974 | -0.71333
LF/HF Ratio | 0.53956 | 0.22262 | 0.16043 | 0.59613 | 0.44993 | NaN

## BRS Stats
Segment # | BRS Series # | IBI | BP | Time
1 | 1 | 811 | 107.5955 | 0.597
1 | 1 | 798 | 105.4735 | 1.408
1 | 1 | 764 | 100.0433 | 2.206
1 | 2 | 609 | 99.7708 | 6.567
1 | 2 | 697 | 106.3981 | 7.176
1 | 2 | 702 | 113.9678 | 7.873
1 | 3 | 670 | 106.3382 | 15.432
1 | 3 | 619 | 103.6734 | 16.102
1 | 3 | 62 | 91.333 | 16.721
1 | 4 | 792 | 103.9632 | 39.189
1 | 4 | 798 | 107.339 | 39.981
1 | 4 | 821 | 108.8835 | 40.779
2 | 1 | 740 | 106.4658 | 70.584
2 | 1 | 761 | 107.9908 | 71.324
2 | 1 | 768 | 109.108 | 72.085
2 | 2 | 762 | 106.4242 | 88.348
2 | 2 | 788 | 108.7577 | 89.11
2 | 2 | 847 | 110.9527 | 89.898
2 | 3 | 954 | 108.9831 | 91.64
2 | 3 | 925 | 106.4508 | 92.594
2 | 3 | 830 | 104.7121 | 93.519
2 | 4 | 799 | 108.7769 | 114.74
2 | 4 | 818 | 110.3532 | 115.539
2 | 4 | 826 | 112.3802 | 116.357
3 | 1 | 803 | 112.356 | 154.445
3 | 1 | 751 | 110.1547 | 155.248
3 | 1 | 737 | 108.8096 | 155.999
4 | 1 | 798 | 113.6639 | 214.091
4 | 1 | 774 | 111.7955 | 214.889
4 | 1 | 725 | 110.6462 | 215.663
5 | 1 | 806 | 112.7833 | 259.177
5 | 1 | 748 | 111.3072 | 259.983
5 | 1 | 93 | 86.3672 | 260.731
5 | 2 | 753 | 106.1417 | 267.916
5 | 2 | 762 | 108.3546 | 268.669
5 | 2 | 826 | 110.0348 | 269.431
5 | 3 | 819 | 109.5369 | 277.983
5 | 3 | 789 | 107.5834 | 278.802
5 | 3 | 782 | 106.0486 | 279.591
5 | 4 | 799 | 108.9544 | 297.727
5 | 4 | 748 | 107.5753 | 298.526
5 | 4 | 724 | 104.8802 | 299.274

## Interval Stats
Segment # | Interval Start Time | Interval End Time | Mean Systolic | # Systolic | Mean Diastolic | # Diastolic | Mean MAP | Mean IBI
1 | 0 | 10 | 103.8338 | 16 | 68.8535 | 15 | 80.4228 | 627.5625
1 | 10 | 20 | 100.1223 | 17 | 68.4369 | 18 | 79.0083 | 553.8235
1 | 20 | 30 | 105.6504 | 11 | 68.2851 | 10 | 80.7105 | 961.4545
1 | 30 | 40 | 105.6089 | 12 | 71.5083 | 12 | 82.6634 | 845.8333
1 | 40 | 50 | 109.561 | 11 | 75.8017 | 12 | 87.0103 | 851.4545
1 | 50 | 60 | 109.0496 | 14 | 74.6728 | 13 | 86.1004 | 779
2 | 60 | 70 | 105.6222 | 13 | 71.3191 | 12 | 82.7103 | 789.3846
2 | 70 | 80 | 109.902 | 13 | 75.7605 | 14 | 87.2316 | 735
2 | 80 | 90 | 109.9202 | 14 | 74.0924 | 13 | 86.0191 | 757.5714
2 | 90 | 100 | 106.6821 | 11 | 70.4712 | 11 | 82.8555 | 856.5455
2 | 100 | 110 | 108.1308 | 12 | 72.7317 | 12 | 84.3297 | 858
2 | 110 | 120 | 110.9936 | 13 | 76.1447 | 13 | 87.3961 | 837.2727
3 | 120 | 130 | 110.0662 | 12 | 76.204 | 12 | 87.4914 | 785.6667
3 | 130 | 140 | 110.9092 | 12 | 76.4943 | 11 | 88.008 | 853.1667
3 | 140 | 150 | 109.7533 | 12 | 74.0766 | 12 | 85.9085 | 849.75
3 | 150 | 160 | 109.3064 | 14 | 74.8216 | 14 | 86.3548 | 697.7857
3 | 160 | 170 | 110.8741 | 14 | 74.6683 | 15 | 87.1754 | 711.9286
3 | 170 | 180 | 109.2188 | 15 | 72.1464 | 14 | 84.2108 | 723.6923
4 | 180 | 190 | 109.0746 | 13 | 73.7892 | 12 | 85.5616 | 765
4 | 190 | 200 | 110.0652 | 13 | 74.1585 | 13 | 86.0651 | 794.4615
4 | 200 | 210 | 111.8035 | 13 | 74.8743 | 13 | 87.2299 | 748
4 | 210 | 220 | 110.1845 | 14 | 77.8987 | 14 | 88.6415 | 713.4286
4 | 220 | 230 | 110.2851 | 13 | 73.8154 | 13 | 85.9903 | 777.3077
4 | 230 | 240 | 107.3701 | 13 | 72.6428 | 13 | 84.2397 | 825.1818
5 | 240 | 250 | 107.416 | 13 | 71.7801 | 12 | 83.5774 | 765.2308
5 | 250 | 260 | 112.5661 | 14 | 76.407 | 14 | 88.4371 | 738.2143
5 | 260 | 270 | 107.9051 | 13 | 74.4468 | 13 | 85.6322 | 732.7692
5 | 270 | 280 | 107.75 | 13 | 73.3494 | 13 | 84.9185 | 778.1538
5 | 280 | 290 | 108.3561 | 13 | 73.7396 | 13 | 85.2193 | 791.7692
5 | 290 | 300 | 107.9675 | 14 | 72.5783 | 14 | 84.4624 | 777.6667