## EDA Stats
Version | 3.1.4
Date | 2019-09-19
Time | 11:14
File Name | C:\Users\gepelman\Documents\MindWare\HRV Examples\ECG IMP EDA ACC Demo.mwi
Event File Name | N/A
Analysis Mode | Time
Event Filter | N/A
Event Identifier | N/A
Start Time | 0
Segment Time | 60
End Time | 436.67
Event Mode | N/A
Pre-Event Time | N/A
Post-Event Time | N/A
Event to Use | N/A
All Instances | N/A
1st Event | N/A
2nd Event | N/A
# of Events | N/A
Event/Time Event to Use | N/A
1st Event | N/A
Segment Time | N/A
Edit File Used? | No
Edit File Name | N/A
Sampling Frequency | 500
Volts Full Scale | 0
A/D Resolution | 0
BioLab Filter | Off
Gain (uS/Volt) | N/A
uS Threshold | 0.05
ER-SCR Latency Min | 1
ER-SCR Latency Max | 3
Calculation Method | Interval
Interval Period | 10
Respiration Signal Used | Zo
Rolling Filter On/Off | On
Block Size | 100
Segment Number | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Start Event
Start Event Name
Start Time | 0 | 60 | 120 | 180 | 240 | 300 | 360 | 420
End Event
End Event Name
End Time | 60 | 120 | 180 | 240 | 300 | 360 | 420 | 436.672
Total SCRs | 5 | 2 | 3 | 6 | 4 | 2 | 2 | 3
ER-SCRs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NS-SCRs | 5 | 2 | 3 | 6 | 4 | 2 | 2 | 3
Tonic SCL | 7.8736 | 7.1684 | 6.6103 | 6.6226 | 6.8191 | 6.6017 | 6.5099 | 7.6369
Mean SC | 8.0537 | 7.2669 | 6.5946 | 6.6575 | 6.8617 | 6.6145 | 6.5827 | 7.3745
Tonic Period | 41.5858 | 43.5643 | 46.7688 | 39.8 | 49.6923 | 48.364 | 43.7931 | 9.1617

## SCR Stats
Segment # | SCR Type | Event Time | Event Type | Trough Time | Peak Time | HR Time | Trough SCL | Peak SCL | SCR
1 | NS | 0 | N/A | 2.839 | 4.635 | 7.368 | 8.066 | 8.525 | 0.459
1 | NS | 0 | N/A | 12.752 | 14.469 | 15.924 | 8 | 8.521 | 0.521
1 | NS | 0 | N/A | 17.276 | 19.871 | 21.362 | 8.143 | 8.534 | 0.391
1 | NS | 0 | N/A | 23.061 | 24.707 | 26.288 | 8.148 | 8.852 | 0.704
1 | NS | 0 | N/A | 27.107 | 29.418 | 30.508 | 8.376 | 8.792 | 0.416
2 | NS | 0 | N/A | 62.131 | 64.216 | 71.138 | 7.242 | 7.51 | 0.268
2 | NS | 0 | N/A | 75.928 | 78.731 | 83.356 | 7.291 | 7.889 | 0.598
3 | NS | 0 | N/A | 150.849 | 152.572 | 154.18 | 6.53 | 6.594 | 0.064
3 | NS | 0 | N/A | 159.326 | 161.014 | 163.017 | 6.496 | 6.549 | 0.053
3 | NS | 0 | N/A | 170.226 | 172.265 | 176.436 | 6.459 | 6.56 | 0.101
4 | NS | 0 | N/A | 180 | 181.124 | -1 | 6.514 | 6.594 | 0.08
4 | NS | 0 | N/A | 182.221 | 183.495 | 184.443 | 6.567 | 6.625 | 0.057
4 | NS | 0 | N/A | 184.677 | 186.445 | 188.337 | 6.59 | 6.768 | 0.178
4 | NS | 0 | N/A | 188.526 | 190.444 | 192.918 | 6.674 | 7.002 | 0.328
4 | NS | 0 | N/A | 202.391 | 204.223 | 205.852 | 6.667 | 6.809 | 0.142
4 | NS | 0 | N/A | 217.328 | 219.858 | 222.669 | 6.571 | 6.746 | 0.175
5 | NS | 0 | N/A | 255.35 | 257.24 | -1 | 6.466 | 6.638 | 0.172
5 | NS | 0 | N/A | 260.977 | 263.868 | -1 | 6.56 | 7.682 | 1.122
5 | NS | 0 | N/A | 265.277 | 266.565 | 267.371 | 7.536 | 7.712 | 0.176
5 | NS | 0 | N/A | 284.989 | 286.787 | 288.42 | 6.868 | 7.026 | 0.157
6 | NS | 0 | N/A | 329.775 | 332.346 | 335.677 | 6.533 | 6.688 | 0.155
6 | NS | 0 | N/A | 347.094 | 349.217 | 352.829 | 6.546 | 6.795 | 0.249
7 | NS | 0 | N/A | 364.105 | 365.853 | 367.24 | 6.498 | 6.581 | 0.082
7 | NS | 0 | N/A | 384.275 | 386.788 | 397.348 | 6.356 | 7.089 | 0.733
8 | NS | 0 | N/A | 423.507 | 428.257 | -1 | 6.451 | 8.801 | 2.35
8 | NS | 0 | N/A | 429.394 | 430.261 | 430.754 | 8.637 | 8.746 | 0.108
8 | NS | 0 | N/A | 434.652 | 435.522 | 436.053 | 8.053 | 8.114 | 0.061

## Interval Stats
Segment # | Interval Start Time | Interval End Time | Mean SC
1 | 0 | 10 | 8.275
1 | 10 | 20 | 8.2448
1 | 20 | 30 | 8.5085
1 | 30 | 40 | 8.1766
1 | 40 | 50 | 7.6939
1 | 50 | 60 | 7.4236
2 | 60 | 70 | 7.4024
2 | 70 | 80 | 7.4441
2 | 80 | 90 | 7.5487
2 | 90 | 100 | 7.2323
2 | 100 | 110 | 7.0491
2 | 110 | 120 | 6.9247
3 | 120 | 130 | 6.773
3 | 130 | 140 | 6.6572
3 | 140 | 150 | 6.5769
3 | 150 | 160 | 6.5387
3 | 160 | 170 | 6.5103
3 | 170 | 180 | 6.5116
4 | 180 | 190 | 6.6631
4 | 190 | 200 | 6.8045
4 | 200 | 210 | 6.7099
4 | 210 | 220 | 6.6154
4 | 220 | 230 | 6.6309
4 | 230 | 240 | 6.5213
5 | 240 | 250 | 6.4793
5 | 250 | 260 | 6.5229
5 | 260 | 270 | 7.3268
5 | 270 | 280 | 7.1196
5 | 280 | 290 | 6.9302
5 | 290 | 300 | 6.7916
6 | 300 | 310 | 6.6702
6 | 310 | 320 | 6.6181
6 | 320 | 330 | 6.5788
6 | 330 | 340 | 6.6075
6 | 340 | 350 | 6.5823
6 | 350 | 360 | 6.6303
7 | 360 | 370 | 6.5287
7 | 370 | 380 | 6.434
7 | 380 | 390 | 6.6606
7 | 390 | 400 | 6.773
7 | 400 | 410 | 6.6001
7 | 410 | 420 | 6.4996
8 | 420 | 430 | 7.3745