## EMG Stats
Version | 3.1.4
Date | 2019-09-19
Time | 12:37
File Name | C:\Users\gepelman\Desktop\Zygo Obic Corr Demo.mwi
Event File Name | N/A
Analysis Mode | Time
Event Filter | N/A
Event Identifier | N/A
Start Time | 0
Segment Time | 60
End Time | 300
Event Mode | N/A
Pre-Event Time | N/A
Post-Event Time | N/A
Event to Use | N/A
All Instances | N/A
1st Event | N/A
2nd Event | N/A
# of Events | N/A
Event/Time Event to Use | N/A
1st Event | N/A
Segment Time | N/A
Edit File Used? | No
Edit File Name | N/A
Sampling Frequency | 1000
Volts Full Scale | 0
A/D Resolution | 0
BioLab Filter | Off
Bandpass Filter On/Off: | On
High Cutoff (Hz): | 200
Low Cutoff (Hz): | 0.5
Lowpass Filter On/Off: | On
Lowpass Freq Cutoff (Hz): | 5
50/60 Hz Notch Filter: | 60
Rectify On/Off: | On
Calculation Method: | Entire
Interval Period: | N/A
Channel Display Spacing: | 0
Auto-Space Channels: | No
Disp Units: | microvolts (uV)
Amp Gain: | Used gain from file
Rolling Filter: | Off
Block Size: | N/A
RMS Calculation: | Raw Data
Segment Number | 1 | 2 | 3 | 4 | 5
Start Event
Start Event Name
Start Time | 0 | 60 | 120 | 180 | 240
End Event
End Event Name
End Time | 60 | 120 | 180 | 240 | 300

## Channel Stats
Segment # | Channel Name | Peak Amplitude | Peak Time | Peak Latency | Freq Peak | Power Peak | Integral | RMS | Mean
1 | Zygo | 50.0854 | 40.644 | 40.644 | 1.0921 | 0.8343 | 207.096 | 53.85 | 3.452
1 | Obic | 59.7809 | 8.845 | 8.845 | 179.981 | 3.9597 | 502.168 | 28.912 | 8.37
1 | Corr | 112.7276 | 59.549 | 59.549 | 179.981 | 9.6814 | 1101.638 | 29.523 | 18.361
2 | Zygo | 49.5491 | 118.661 | 58.661 | 1.128 | 0.4768 | 158.025 | 53.597 | 2.634
2 | Obic | 48.7031 | 62.094 | 2.094 | 179.9829 | 4.5196 | 447.34 | 28.317 | 7.456
2 | Corr | 115.28 | 62.103 | 2.103 | 179.9826 | 10.9284 | 1067.923 | 29.604 | 17.799
3 | Zygo | 72.483 | 161.457 | 41.457 | 0.7813 | 1.3478 | 369.216 | 55.177 | 6.154
3 | Obic | 48.8795 | 133.023 | 13.023 | 179.9267 | 3.3759 | 475.705 | 28.703 | 7.928
3 | Corr | 105.2299 | 177.829 | 57.829 | 179.9264 | 8.11 | 1219.79 | 35.389 | 20.33
4 | Zygo | 56.5637 | 195.233 | 15.233 | 0.7337 | 1.3857 | 232.93 | 54.157 | 3.882
4 | Obic | 70.6035 | 210.289 | 30.289 | 179.9328 | 2.879 | 487.847 | 28.964 | 8.131
4 | Corr | 259.0547 | 210.304 | 30.304 | 179.9328 | 7.0678 | 1074.916 | 31.523 | 17.915
5 | Zygo | 55.02 | 289.33 | 49.33 | 1.1281 | 1.3202 | 312.394 | 54.196 | 5.207
5 | Obic | 120.2998 | 269.642 | 29.642 | 0.9041 | 3.939 | 709.507 | 32.306 | 11.825
5 | Corr | 116.282 | 281.949 | 41.949 | 179.9682 | 5.6836 | 1106.326 | 28.393 | 18.439