## Impedance Stats
Version | 3.1.6
Date | 2019-09-19
Time | 11:01
File Name | C:\Users\gepelman\Documents\MindWare\HRV Examples\ECG IMP EDA ACC Demo.mwi
Event File Name | N/A
Analysis Mode | Time
Event Filter | N/A
Event Identifier | N/A
Start Time | 0
Segment Time | 60
End Time | 436.67
Event Mode | N/A
Pre-Event Time | N/A
Post-Event Time | N/A
Event to Use | N/A
All Instances | N/A
1st Event | N/A
2nd Event | N/A
# of Events | N/A
Event/Time Event to Use | N/A
1st Event | N/A
Segment Time | N/A
Edit File Used? | No
Edit File Name | N/A
Sampling Frequency | 500
Volts Full Scale | 0
A/D Resolution | 0
BioLab Filter | Off
IBI Min/Max Check | On
MAD MED Check | On
Maximum Heart Rate (BPM) | 200
Minimum Heart Rate (BPM) | 40
50/60 hz Notch Filter | Off
Baseline/Muscle Noise Filter | On
Zo Cal Factor | N/A
dZ/dt Cal Factor | N/A
Rho(Blood Resistivity) | 135
Electrode Type | Spot
Electrode Distance Back | N/A
Electrode Distance Front | 25
Q Point Method | Minimum Value K-R Interval
R Minus Constant | N/A
K Constant | 35
LVET Windowing | Framingham
RR-Constant | N/A
LVETmin | 300
LVETmax | 600
B Point Method | Percent of dZ/dt Time + C
Block Size | N/A
dZ/dt Peak Minus Constant | N/A
Percent dZ/dt | 55
C | 4
dZ/dt Source | Measured
Detrend Mode | Off
SV Calculation Method | Kubicek
Weight | N/A
Height | N/A
Ideal Body Weight | N/A
Ensemble Start-R Time (ms) | 200
Ensemble Length (ms) | 750
Calculate TPR | No
MAP File Name
ECG Inverted | No
dZ/dt Inverted | No
Segment Number | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Start Event
Start Event Name
Start Time | 0 | 60 | 120 | 180 | 240 | 300 | 360 | 420
End Event
End Event Name
End Time | 60 | 120 | 180 | 240 | 300 | 360 | 420 | 436.672
Peak Detection Sensitivity | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Manual Override | Off | Off | Off | Off | Off | Off | Off | Off
Threshold (volts) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Heart Rate | 63.2159 | 58.8593 | 57.2578 | 59.331 | 59.1578 | 60.6019 | 56.8817 | 60.7364
LVET | 272 | 278 | 280 | 274 | 276 | 272 | 278 | 276
SV | 400.9744 | 348.9518 | 325.1015 | 320.384 | 309.2131 | 313.1924 | 337.2035 | 308.2318
CO | 25.3479 | 20.5391 | 18.6146 | 19.0087 | 18.2923 | 18.9801 | 19.1807 | 18.7209
Z0 | 4.9659 | 5.0898 | 5.111 | 5.1542 | 5.1555 | 5.1657 | 5.1745 | 5.1549
PEP | 96 | 100 | 106 | 104 | 104 | 106 | 104 | 104
dZ/dt Max | 0.43085 | 0.38539 | 0.35947 | 0.36816 | 0.35292 | 0.36416 | 0.38492 | 0.35171
# of R's Found | 63 | 59 | 57 | 59 | 60 | 60 | 57 | 17
Mean IBI | 949.129 | 1019.3793 | 1047.8929 | 1011.2759 | 1014.2373 | 990.0678 | 1054.8214 | 987.875
TPR | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1
Q Location | 168 | 168 | 168 | 168 | 168 | 168 | 168 | 168
R Location | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
S Location | 226 | 226 | 226 | 226 | 226 | 226 | 226 | 226
B Location | 264 | 268 | 274 | 272 | 272 | 274 | 272 | 272
Z Location | 310 | 318 | 326 | 324 | 322 | 326 | 324 | 324
X Location | 536 | 546 | 554 | 546 | 548 | 546 | 550 | 548
Q Amplitude | -4.5e-05 | -3.7e-05 | -3.2e-05 | -3.8e-05 | -4.1e-05 | -3.6e-05 | -3.2e-05 | -3.1e-05
R Amplitude | 0.002273 | 0.002382 | 0.002454 | 0.002486 | 0.002454 | 0.002523 | 0.002522 | 0.002502
S Amplitude | -0.000251 | -0.000245 | -0.000226 | -0.000217 | -0.000231 | -0.000221 | -0.000222 | -0.000224
B Amplitude | 0.26348 | 0.17392 | 0.13069 | 0.14026 | 0.14435 | 0.13804 | 0.13569 | 0.141
Z Amplitude | 0.43085 | 0.38539 | 0.35947 | 0.36816 | 0.35292 | 0.36416 | 0.38492 | 0.35171
X Amplitude | -0.1715 | -0.15726 | -0.14126 | -0.15251 | -0.15413 | -0.16239 | -0.16309 | -0.12977
X Point Source | Identified | Identified | Identified | Identified | Identified | Identified | Identified | Identified
First ECG Time | 0.83 | 60.51 | 120.7 | 180.432 | 240.1 | 300.904 | 360.32 | 420.44

## IBI Series
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
830 | 510 | 700 | 432 | 100 | 904 | 320 | 440
800 | 804 | 1078 | 1012 | 1142 | 1056 | 1008 | 1152
764 | 720 | 1050 | 1068 | 1172 | 1004 | 1050 | 1074
808 | 760 | 1060 | 966 | 976 | 1006 | 988 | 950
1036 | 1038 | 1066 | 924 | 1048 | 1030 | 1016 | 984
950 | 932 | 1120 | 1008 | 1098 | 942 | 1066 | 916
926 | 952 | 1044 | 1056 | 1028 | 1020 | 1006 | 898
886 | 962 | 1074 | 938 | 1100 | 1014 | 1052 | 1000
876 | 1024 | 1102 | 870 | 1074 | 972 | 1082 | 896
944 | 996 | 1050 | 848 | 1042 | 1052 | 982 | 1000
1002 | 1008 | 1108 | 860 | 1086 | 988 | 1034 | 1042
984 | 1006 | 1088 | 942 | 1058 | 1046 | 1014 | 1040
920 | 940 | 1098 | 878 | 1052 | 1044 | 1024 | 1042
854 | 1076 | 1108 | 978 | 1120 | 960 | 1084 | 996
886 | 1122 | 1034 | 990 | 1046 | 1018 | 1028 | 986
888 | 1108 | 1076 | 966 | 1016 | 1024 | 1016 | 910
924 | 1052 | 1094 | 1024 | 998 | 948 | 1066 | 920
862 | 1086 | 1064 | 968 | 914 | 1024 | 998 | 426
878 | 1004 | 1112 | 976 | 966 | 978 | 1046
826 | 900 | 1112 | 970 | 910 | 970 | 1080
940 | 1008 | 1048 | 904 | 818 | 1026 | 998
1092 | 1036 | 1106 | 990 | 800 | 948 | 1064
1088 | 964 | 1108 | 974 | 866 | 1022 | 1032
1016 | 1014 | 1106 | 968 | 966 | 968 | 962
978 | 1066 | 1116 | 1058 | 838 | 948 | 1102
964 | 1098 | 1046 | 1040 | 868 | 982 | 1048
918 | 996 | 1102 | 1030 | 850 | 960 | 1040
884 | 1042 | 1008 | 1058 | 812 | 1050 | 1136
952 | 1078 | 1058 | 1002 | 928 | 1062 | 1086
920 | 1096 | 1070 | 1064 | 948 | 952 | 1110
992 | 1124 | 976 | 1012 | 904 | 994 | 1082
1012 | 1110 | 1054 | 1074 | 992 | 950 | 1018
972 | 1092 | 1106 | 1080 | 1060 | 970 | 1080
1078 | 1074 | 1016 | 1008 | 1010 | 996 | 1056
1060 | 1016 | 1010 | 1058 | 1074 | 970 | 996
1014 | 1034 | 1072 | 1004 | 1106 | 1082 | 1078
1060 | 1086 | 1026 | 1068 | 1044 | 1090 | 1084
1046 | 1090 | 1022 | 998 | 1112 | 1004 | 1000
916 | 1068 | 1020 | 976 | 1066 | 1036 | 1110
940 | 1020 | 914 | 1002 | 1090 | 968 | 1100
896 | 1076 | 964 | 976 | 1130 | 968 | 998
930 | 1102 | 996 | 1024 | 1092 | 1040 | 1102
972 | 1064 | 1022 | 1050 | 1062 | 1016 | 1128
980 | 1008 | 948 | 1032 | 1124 | 988 | 1100
1036 | 1020 | 1046 | 1040 | 1070 | 988 | 1146
1060 | 940 | 1052 | 1080 | 1094 | 896 | 1072
1012 | 950 | 956 | 1032 | 1060 | 882 | 1058
1006 | 998 | 1012 | 1118 | 986 | 830 | 1084
1032 | 980 | 1030 | 1078 | 1060 | 934 | 994
1014 | 1048 | 938 | 1048 | 988 | 994 | 1068
1020 | 1006 | 968 | 1082 | 1042 | 908 | 1090
930 | 1014 | 986 | 1002 | 1080 | 1040 | 1004
938 | 1044 | 990 | 1056 | 980 | 1002 | 1066
964 | 1016 | 1036 | 1086 | 1052 | 1042 | 1114
1012 | 1054 | 1086 | 1014 | 988 | 1010 | 1000
974 | 1034 | 1056 | 1100 | 1008 | 920 | 1086
870 | 1042 | 1074 | 1034 | 1010 | 966 | 1138
916 | 1088 | 618 | 1086 | 986 | 972 | 610
902 | 1038 |  | 1106 | 1010 | 932
842 | 366 |  | 914 | 1020 | 1012
868 |  |  |  | 60 | 682
912
904
324