## EDA Stats
Segment Number | 1
Start Event
Start Time | 0
End Event
End Time | 60
Segment Duration | 60
Total SCRs | 5
ER-SCRs | 0
NS-SCRs | 5
Tonic SCL | 7.8622
Mean SC | 8.0639
Tonic Period | 38.2697

## SCR Stats
Segment # | SCR Type | Event Time | Event Type | Amplitude | Latency | Rise Time | HR Time | Trough Loc | Peak Loc | HR Loc | Trough Amp | Peak Amp | HR Amp
1 | NS | N/A | N/A | 0.43658 | N/A | 3.12 | 2.1559 | 1.3717 | 4.4917 | 6.6476 | 8.0951 | 8.5317 | 8.3133
1 | NS | N/A | N/A | 0.39686 | N/A | 2.5386 | 1.6572 | 11.6152 | 14.1538 | 15.811 | 8.0394 | 8.4363 | 8.2377
1 | NS | N/A | N/A | 0.28861 | N/A | 3.1014 | 1.4317 | 16.6717 | 19.7731 | 21.2048 | 8.1847 | 8.4733 | 8.329
1 | NS | N/A | N/A | 0.5323 | N/A | 2.4434 | 1.649 | 22.3469 | 24.7903 | 26.4393 | 8.2136 | 8.7459 | 8.4796
1 | NS | N/A | N/A | 0.26518 | N/A | 2.4848 | 1.1483 | 26.9379 | 29.4228 | 30.571 | 8.452 | 8.7172 | 8.5843

## Editing Stats
Segment Number | 1
EDA : Seconds Removed | 0
EDA : Percentage Removed | 0
EDA : Seconds Estimated | 0
EDA : Percentage Estimated | 0
Resp : Seconds Removed | 0
Resp : Percentage Removed | 0
Resp : Seconds Estimated | 0
Resp : Percentage Estimated | 0

## Settings
Version | 3.2.3
Date | 6/12/2019
Time | 3:22 PM
File Name | C:\Users\emorgan\Documents\MindWare\EDA Examples\ECG IMP EDA ACC Demo.mwi
Mode | Time
Start Time | 0
End Time | 436.671
Segment Time | 60
Show Events | No
Edit File Used? | No
Edit File Name
Sampling Frequency | 1000
BioLab Filter | Off
Override Gain Settings | No
uS/Volt | 1
uS Threshold | 0.05
ER-SCR Latency Min | 1
ER-SCR Latency Max | 3
Use All Events | No
Calculation Method | Entire
Interval Period | N/A
Respiration Signal Used | Zo
Rolling Filter On/Off | On
Block Size | 1000