## EMG Stats
Segment Number | 1
Start Event
Start Time | 0
End Event
End Time | 10
Segment Duration | 10

## Channel Stats
Segment # | Channel Name | Peak Amplitude | Peak Time | Peak Latency | Freq Peak | Power Peak | Integral | RMS | Mean
1 | Left eye | 44.5057 | 1.8859 | 1.8859 | 131.2721 | 0.095542 | 25.2576 | 64.0653 | 2.5264
1 | Left ear | 26.1635 | 5.7588 | 5.7588 | 40.1546 | 0.19055 | 63.5013 | 16.245 | 6.3509
1 | Right ear | 23.6525 | 5.6486 | 5.6486 | 99.4213 | 0.091943 | 40.6671 | 12.1388 | 4.067

## Interval Stats
Segment # | Interval Start Time | Interval End Time | Channel Name | Integral | RMS | Mean
1 | Left eye | 0 | 10 | 25.2576 | 64.0653 | 2.5264
1 | Left ear | 0 | 10 | 63.5013 | 16.245 | 6.3509
1 | Right ear | 0 | 10 | 40.6671 | 12.1388 | 4.067

## Editing Stats
Segment Number | 1
Left eye : Seconds Removed | 0
Left eye : Percentage Removed | 0
Left eye : Seconds Estimated | 0
Left eye : Percentage Estimated | 0
Left ear : Seconds Removed | 0
Left ear : Percentage Removed | 0
Left ear : Seconds Estimated | 0
Left ear : Percentage Estimated | 0
Right ear : Seconds Removed | 0
Right ear : Percentage Removed | 0
Right ear : Seconds Estimated | 0
Right ear : Percentage Estimated | 0

## Settings
Version | 3.2.4
Date | 6/12/2019
Time | 3:25 PM
File Name | E:\Data\3_2 Test Data\Startle EMG\EAT data for Eric\EAT data for Eric\6000_Carla_exp_0.mwi
Mode | Time
Start Time | 0
End Time | 1252
Segment Time | 10
Show Events | No
Edit File Used? | No
Edit File Name
Sampling Frequency | 1000
BioLab Filter | Off
Bandpass Filter On/Off | On
High Cutoff (Hz) | 200
Low Cutoff (Hz) | 28
Lowpass Filter On/Off | Off
Lowpass Freq Cutoff (Hz) | N/A
50/60Hz Notch Filter | 60
Rectify On/Off | On
Calculation Method | Interval
Interval Period | 10
Channel Display Spacing | 0
Auto-Space Channels | Yes
Display Units | microvolts (uV)
Amp Gain | 1
Rolling Filter | On
Block Size | 10
RMS Calculation | Raw Data